# FloodLAMP assay cart drawer arrangement

Contents of each of the four drawers to be used in the FloodLAMP assay cart are as described and illustrated in the sections below.

| STRIPS ONLY | PLATES |
| --- | --- |
| Drawer 1 - 48 Strip-of-8 tubes in tip box (2) - 12 Strip-of-8 caps in 50 mL Falcon tubes (8) - 50 1.5mL snap cap tubes in cryobox (1) | Drawer 1 - 48 Strip-of-8 tubes in tip box (2) - 12 Strip-of-8 caps in 50 mL Falcon tubes (8) - 50 1.5mL snap cap tubes in cryobox (1) |
| Drawer 2 - 1.5mL tube rack (1) - Flipper rack (1) - Versirack (1) - PCR racks (2) - Razor blades (10) | Drawer 2 - 1.5mL tube rack (2) - Flipper rack (1) - Versirack (1) - PCR racks (2) - Razor blades (10) |
| Drawer 3 - Saline filled Falcon tubes (15) - Saline filled 30mL Chub tubes (5) - 100X Inactivation Solution (1) - 50mL Falcon tubes (10) | Drawer 3 - Pipette 100-1000uL (1) - Pipette 10-100uL (1) - Pipette fixed 2uL (1) - 1000uL tips (1) - 200uL tips (1) - 10uL tips (1) - Saline filled Falcon tubes (15) - Saline filled 30mL Chub tubes (5) - 100X Inactivation Solution (1) |
| Drawer 4 - Pipette 100-1000uL (1) - Pipette 10-100uL (1) - Pipette fixed 2uL (1) - 8 channel pipette (1) - Reagent reservoirs (5) - 1000uL tips (1) - 200uL tips (1) - 10uL tips (1) | Drawer 4 - 8 channel pipette (1) - Reagent reservoirs (5) - PCR Plates (10) - Plate Seals (10) - Plate Roller (10) |

# Drawer 1

# Drawer 2

# Drawer 3

# Drawer 4