## Slide 1
FloodLAMP QuickColorTM COVID-19 Test Flow
Saline
100X Inactiv
Solution
Primer Solution
Color LAMP Master Mix
1)
INACTIVATION
SOLUTION
2)
REACTION
MIX
Pooled Dry Swab Samples
Heat 95°C 5mL: 8 min
1.5mL: 5 min
Samples added to Reaction Mix
Heat 65°C for 25 min
Let Cool
5mL: 10 min
1.5mL: 5 min

## Slide 2
100X Inactivation Solution
.9% Saline
50 mL
Pooled Dry Swab Samples
Eluted Sample
1,000 µL
Primer Solution (PGS)
Colorimetric LAMP MM (NEB M1804)
CLAMP Reaction
Mix
+ 2 µL Sample
Heat 95°C for 8min
FloodLAMP QuickColorTM COVID-19 Test Diagram
Pos and Neg Controls
8 reactions*
1.5 mL Tube
1X Inactivation
Saline Solution
~50 mL
500 µL
1,000 µL
92 µL*
110 µL*
Cool at Room Temp for 10min
+ 23 µL Reaction Mix
per tube
Heat 65°C for 25min
RESULTS!
1X Inactivation Saline Solution
Amplification Reaction Mix
STEP #1
STEP #2
Reaction Mix Prep: Quick Reference
# Reactions | 8 | 16 | 24 | 48
PGS (µL) | 92 | 183 | 275 | 550
LAMP MM (µL) | 109 | 218 | 328 | 655